SECTION 12 24 86

SKYLIGHT WINDOW SHADES

Draper®, Inc. Tess 140

This section is based on the products of Guthrie Douglas, a Draper Group Company. Draper, Inc., is located at:

411 S. Pearl Street

P. O. Box 425

Spiceland, IN 47385-0425

Tel: (800) 238-7999

Fax: (765)987-7142

Email: drapercontract@draperinc.com

Web: www.draperinc.com

The purpose of this guide specification is to assist the Specifier in correctly specifying Tess 140 shades and their installation. Contact Draper® for further assistance.

The Specifier needs to edit these guide specifications to fit the needs of each specific project.  References have been made within the text of the specification to MasterFormat section numbers and titles. The Specifier needs to coordinate these numbers and titles with sections included for the specific project.

Throughout the guide specification, there are Specifier Notes to assist in the editing of the file.  Desired options for size, fabric, controls, method of installation and hardware need to be noted. Brackets have been used to indicate when a selection is required. Unless noted otherwise, the first option is the standard feature. Contact a Draper, Inc. representative for further assistance with appropriate product selections..

GENERAL

SECTION INCLUDES

Motorized roller skylight window shades.

RELATED SECTIONS

Delete any sections below not relevant to this project; add others as required.

Section 061000 “Rough Carpentry:” Blocking for support of window shade hardware.

Section 079200 “Joint Sealants:” Sealants for perimeter of shade system.

Section 084413 “Glazed Aluminum Curtain Walls:” Openings to receive window shades.

Section 084423 “Structural-Sealant-Glazed Curtain Walls:” Openings to receive window shades.

Section 084113 “Aluminum-Framed Entrances and Storefronts:” Openings to receive window shades.

Section 084126 “All-Glass Entrances and Storefronts:” Openings to receive window shades.

Section 085000 “Windows:” Openings to receive window shades.

Section 085113 “Aluminum Windows:” Openings to receive window shades.

Section 085123 “Steel Windows:” Openings to receive window shades.

Section 085200 “Wood Windows:” Openings to receive window shades.

Section 085313 “Vinyl Windows:” Openings to receive window shades.

Section 085413 “Fiberglass Windows:” Openings to receive window shades.

Division 26 - Electrical: Electrical supply, conduit, and wiring for motorized window shades.

REFERENCES

Delete references from the list below that are not actually required by the text of the edited section.

American Society of Heating, Refrigerating, and Air-Conditioning Engineers, Inc. (ASHRAE)

ASHRAE 74: Method of Measuring Solar-Optical Properties of Materials.

ASTM International

ASTM D3273: Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber.

ASTM D6329: Standard Guide for Developing Methodology for Evaluating the Ability of Indoor Materials to Support Microbial Growth Using Static Environmental Chambers.

ASTM E84: Standard Test Method for Surface Burning Characteristics of Building Materials.

ASTM E2180: Standard Test Method for Determining the Activity of Incorporated Antimicrobial Agent(s) In Polymeric or Hydrophobic Materials.

ASTM G21: Standard Practice for Determining Resistance of Synthetic Polymeric Materials to Fungi.

British Standards Institution (BS)

BS 5867-2: Fabrics for Curtains, Drapes and Window Blinds - Flammability Requirements, Specification.

California Code of Regulations (CCR)

California U.S. Title 19 (Division 1, Chapter 8): Fabric and Material Certification.

European Commission (EC)

REACH (EC 1907/2006): European regulation on chemicals and their safe use.

European Union (EU)

Directive 2002/95/EC (RoHS): Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment.

German Institute for Standardization (DIN)

DIN 4102-1: Fire Behaviour of Building Materials and Elements, Classification of Building Materials, Requirements and Testing.

Ferrari® Group

Texyloop®: Polyester-PVC composite textile recycling initiative.

France Standards, Association Francaise de Normalisation (AFNOR/NF)

NF P92-503: Fire-Resistance of Building Materials and Elements, Electrical Burner Test for Flexible Materials.

NF P92-512: Safety Against Fire. Reaction to Fire Tests. Determination of the durability of the fire reaction classification of materials.

International Oeko-Tex® Association

Oeko-Tex® Standard 100: Globally uniform testing system of textiles for harmful substances which are prohibited or regulated by law, chemicals which are known to be harmful to health, and parameters which are included as a precautionary measure to safeguard health.

International Organization for Standardization (ISO)

ISO 6941: Burning Behaviour of Textile Fabrics, Measurement of Flame Spread Properties of Vertically Oriented Specimens.

Microban® International, Ltd.

Microban® Protection: Antimicrobial protection to inhibit the growth of stain-causing bacteria, mold and mildew.

National Fire Protection Association (NFPA)

NFPA 101: Life Safety Code.

NFPA 701: Standard Methods of Fire Tests for Flame Propagation of Textiles and Films.

Underwriters Laboratories of Canada (ULC)

CAN/ULC-S109: Standard for Flame Tests of Flame-Resistant Fabrics and Films. Method of Fire Tests for Flame-Resistant.

SUBMITTALS

Submit under provisions of Section 013300 “Submittal Procedures:”

Product Data: Manufacturer's data sheets on each product specified, including:

Preparation instructions and recommendations.

Installation and maintenance instructions.

Styles, material descriptions, dimensions of individual components, profiles, features, finishes, and operating instructions.

Storage and handling requirements and recommendations.

Mounting details and installation methods.

Typical wiring diagrams, including integration of motor controllers with building management system, audiovisual, and lighting control systems as applicable.

Include the following paragraph for projects with complex requirements for window treatment. Delete if not required.

Shop Drawings: Plans, elevations, sections, product details, installation details, operational clearances, wiring diagrams, and relationship to adjacent work.

Delete the following paragraphs if LEED is not applicable.

LEED Submittals: Provide documentation of how the requirements of Credit will be met.

Window Treatment Schedule: For all roller shades. Use same room designations as indicated on the Drawings, field verified window dimensions, quantities, type of shade, controls, fabric, and color, and include opening sizes and key to typical mounting details.

Delete Selection Samples paragraph if colors and shade fabrics have already been selected.

Selection Samples: For each finished product specified, two complete sets of shade cloth options and aluminum finish color samples representing manufacturer's full range of available colors and patterns.

Verification Samples: For each finished product specified, submit two complete sets of shade components, unassembled, demonstrating compliance with specified requirements. Shade fabric sample and aluminum finish sample as selected, representing actual product, color, and patterns. Mark face of material to indicate interior faces.

Maintenance Data: Methods for maintaining shades, precautions regarding cleaning materials and methods, instructions for operating hardware and controls.

Manufacturer's Certificates: Certify products meet or exceed specified requirements.

CLOSEOUT SUBMITTALS

Refer to Section [01 78 00 Closeout Submittals] [Insert section number and title].

QUALITY ASSURANCE

Manufacturer Qualifications: Obtain motorized shades through one source from a single manufacturer with experience in manufacturing products comparable to those specified in this section.

Fire-Test-Response Characteristics: Provide shade fabric with the fire-test-response characteristics indicated, as determined by testing identical products per test method indicated by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify materials with appropriate markings of applicable testing and inspecting agency.

Include a mock-up if the project size and/or quality warrant taking such a precaution. The following is one example of how a mock-up on a large project might be specified. When deciding on the extent of the mock-up, consider all the major different types of work on the project.

Mock-Up: Provide a mock-up of one of each type of shade assembly specified for evaluation of mounting, appearance and accessories.

Locate mock-up in [window] [windows] designated by Architect.

Do not proceed with remaining work until mock-up is accepted by Architect. Retain the Window Size paragraph below if window size is known and uniform throughout the project. If there are different window sizes in the project, copy and paste this paragraph once for each different size; designate a different window opening type for each different size; and provide the dimension for each window type.

If window sizes are unknown or there is a large number of different size windows, delete the paragraph below and be sure the window sizes are clearly indicated on the Drawings.

Window <Insert window designation used on Drawings> Size: <insert dimension> inches wide by <insert dimension> inches tall.

DELIVERY, STORAGE, AND HANDLING

Refer to Section [01 60 00 Product Requirements] [Insert section number and title].

Do not deliver shades until building is enclosed and construction within spaces where shades will be installed is substantially complete.

Deliver products in manufacturer's original, unopened, undamaged containers with labels intact.

Label containers and shades according to Window Shade Schedule.

Store products in manufacturer's unopened packaging until ready for installation.

SEQUENCING

Ensure that locating templates and other information required for installation of products of this section are furnished to affected trades in time to prevent interruption of construction progress.

Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

PROJECT CONDITIONS

Install shades after finish work to windows or other installation site is complete.

WARRANTY

Manufacturer’s Hardware and Shade Fabric Warranty: Manufacturer will provide replacement components for the relevant skylight window shade that fail in material or workmanship within specified warranty period.

Materials include but are not limited to mounting hardware, headbox, fascia and shade fabric.

Warranty Period: 2 years from date of material shipping from manufacturer.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer: Guthrie Douglas, a Draper® Group Company. Draper, Inc is located at: 411 S. Pearl St., Spiceland, IN 47385-0425; Toll Free Tel: 800-238-7999; Tel: 765-987-7999; Email: contract@draperinc.com ; Web: www.draperinc.com; Solar Control Solutions.

TESS 140 MOTORIZED SKYLIGHT ROLLER SHADE

Method of Installation: [Top] [Back] [Side] Mount.

Operator Roller: 3-5/16 inch (85 mm) diameter, 0.0.049 inch thick, steel, hot dip coated finish. Take up spools for tension draw cable to each end.

Fabric Connection: Fabric retainers slide into ¾" pockets at each end of fabric, then fit into roller extrusion and hem bar.

Endplate & Return Pulley brackets: Extruded aluminum, Grade 6060: 5-13/16 x 5-1/2 inches. Fabric/roller endcaps complete with motor adapter bracket. RAL 9016 30% gloss level Traffic White matt powder coat finish.

Guide Cables: 3/16 inch (5 mm) 7x7 strand, stainless steel AISI 316

Tension Cables: 1/16" O.D., 7x7 strand wire rope. Low-stretch, high-fatigue, nylon coated.

Operator: Tubular motor concealed inside shade roller tube.

Shade Motor.

SELECT one of two motor paragraphs below. COORDINATE motor selection with controls specified in article below. Contact Draper for size limitations when specifying quiet motors.

Wired Motor: 110-120V AC, single-phase, 60 HZ, instantly reversible, lifetime lubricated, and equipped with internal thermal overload protector, electric brake, and pre-set accessible limit switches. 120VAC Somfy Sonesse 15Nm / 17 rpm

Radio Technology Motor: 110-120V AC, single-phase, 60 HZ, instantly reversible, lifetime lubricated motor with built-in radio receiver, equipped with internal thermal overload protector, electric brake, and pre-set accessible limit switches. (Compatible with Wireless Radio Technology Controls.) 120VAC Somfy Sonesse 15Nm / 17 rpm

CONTROLS

Select the control device(s) required and delete those not required.

Radio Motor Transmitters

1-Channel Transmitter: One channel remote, able to send an up, stop, down, and intermediate stop command, for operating one shade or one group of shades.

4-Channel Transmitter: Four channel remote, able to send an up, stop, down, and intermediate stop command per channel, for operating up to 4 shades individually and as a group or 4 groups individually and as a group.

Wireless Wall Switch

1-Channel Wall Switch: One channel wall switch, able to send an up, stop, down, and intermediate stop command, for operating one shade or one group of shades.

(Specifier Note: Standard cover plates for Draper controls are ivory colored plastic. Refer to Draper product literature for other options.)

Accessories: Provide control systems with conduit, wiring, boxes, cover plates, and other accessories required for complete installation

FABRIC

Light-Filtering Fabrics

Fiber-reinforced Polymer

Unknown Weave

TESS Screen 1% by Guthrie Douglas

Fire Rating: B1 (M1) European Standard.

Unknown Weave

TESS Screen 3% by Guthrie Douglas

Fire Rating: B1 (M1) European Standard.

Polymer

Unknown Weave

TESS Poly 5% by Guthrie Douglas

Fire Rating: B1 (M1) European Standard.

Metal Reinforced Polymer

Unknown Weave

TESS MetalScreen 2% by Guthrie Douglas

Fire Rating: B1 (M1) European Standard.

PVC-Free Polymer

Unknown Weave

TESS FineWeave 3% by Guthrie Douglas

Fire Rating: B1 (M1) European Standard.

Room Darkening/Blackout Fabrics

Fiber-reinforced and Polymer Laminate.

Unknown Weave

TESS ScreenBlock by Guthrie Douglas

Fire Rating: B1 (M1) European Standard.

Polymer.

Unknown Weave

TESS PolyBlock by Guthrie Douglas

Fire Rating: B1 (M1) European Standard.

- (Specifier Note: RETAIN paragraphs below with any paragraph above.)

Color: [Match Architect’s sample] [As selected by Architect from manufacturer’s full range] [As indicated on window shade schedule] [Insert color].

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Verify field dimensions of skylights prior to fabrication of skylight window shades.

Coordinate blocking and structural support requirements of skylight window shades to ensure proper attachment and support.

Coordinate requirements and location of power supply, conduit, and wiring required for motorized skylight window shade motors and controls.

Coordinate interface and installation of skylight window shades with provision of [HVAC system] [lighting system] [motorized projection screen] [motorized projector lift] [video projector].

INSTALLATION

Install skylight window shades at locations indicated on [Drawings] [and] [approved Window Shade Schedule].

Comply with skylight window shade manufacturer's written instructions and shop drawings.

Position skylight window shade in alignment with skylight opening.  Secure with fasteners recommended by manufacturer.

TESTING AND DEMONSTRATION

Test skylight window shades to verify that operating mechanism,[ controls, limit switches,] [, interface to other building systems,] fabric stays, and other operating components are functional.  Correct deficiencies.

(Specifier Note: DELETE daylight testing paragraph below if skylight window shades for room darkening are not project specific.)

During daylight hours, close skylight window shades and turn off interior lights.  Verify that there are no direct light streaks at perimeter or within shade assembly.  Correct deficiencies.

Demonstrate operation of skylight window shades to Owner's designated representatives.

PROTECTION

Clean and protect skylight window shades after installation from damage during construction operations. If damage occurs, remove and replace damaged components or entire unit as required to provide units in their original, undamaged condition.

        - Performance Requirements:

          - Wind Load Resistance: Wind class 3

Coating: All exposed aluminum to be powder coated in accordance with Guthrie Douglas requirements. Colour to be selected by Architect.

          - Internal blind system

          - Capable of a maximum fabric area of up to 18m2.

          - Capable width range: 870mm – 4,000mm

          - Capable of maximum draw: 6,500mm

          - Material kept taught by continuous tension cables and single barrelmechanism.

          - Internal spring mechanism designed to work in harmonious effect with specified motor type to provide smooth and quiet movement

SCHEDULES

(Specifier Note: For large projects with several types of shades and fabrics, a window shade schedule may be appropriate. Schedule may be located in this specification section or located on Drawings.  DELETE article below if not project specific.

Refer to Drawings for shade types and locations.

END OF SECTION